## spectra_metadata
Field | Value
Spectrometer Make/Model | Foss NIRSystem6500
Wavelength Range (nm) | 400-2498
Spectral Resolution (nm) | 2
Number of Scans per Spectrum | 32
Grain Type | Wheat
Variety | Unknown
Origin (country) | Spain
Year | 2001
Reference Method Protein | Kjeldahl
Reference Method Moisture | dry in oven
Units for Protein | % protein
Units for Moisture | %
Reference for moisture | as-is
Citation | sensAIfood (Dolores Pérez-Marín, University of Cordoba)
Autorship | Dolores Pérez Marín
AUXILIARY METADATA
Detector Type | Silicon & Lead Sulfide
Geometry | Reflectance
Optical Reference Material | Spectralon
Software Used for Acquisition | ISI software
Sampling notes
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Introduce the brand and model of the spectrometer used
Note on A3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Insert wavelength range in nm (first and last wavelength separated by "-", e.g., 750 - 1100
Note on A4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Spectral spatial resolution (mean value) in nm of the spectrometer
Note on A5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Number of scans per recorded spectrum (in average)
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cereal/grain sample name, e.g. wheat
Note on A7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cereal variety, e.g. Renan
Note on A8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Origin country where the sample comes from (where it was planted)
Note on A9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Harvest year
Note on A10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Laboratory Reference method used for measuring the protein, e.g., Kjeldahl
Note on A11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Laboratory Reference method used for measuring the Moisture, e.g., Dumas
Note on A12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Reference measurement units for protein, e.g. "% protein”
Note on A13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Reference measurement units for moisture, e.g. "% wb”
Note on A14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Laboratory reference method for moisture measurement. Examples: as-is, dry matter basis, fixed moisture, basis (e.g., 11%, 12%, or 13.5%)
Note on A15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: DOI of paper where the data was analysed, or DOI of data if distributed online. This field will be used to identify the origin of the dataset and to provide links.
Note on A16: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Name of the responsible for the data or origin laboratory, or research group/centre/university or company.
Note on A18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Type of sensor in the spectrometer, e.g. e.g. InGaAs
Note on A19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Geometry of spectral acquisition, e.g. diffuse reflectance, interactance, etc...
Note on A20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Material used for the spectral optical reference, e.g., Spectralon, gold mirror, teflon, etc.
Note on A21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Name and version of the software used for spectra acquisition
Note on A22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Please inform about data structure, i.e., duplicated measurements per sample, different batches, etc. This is useful to ensure that data splits will be done properly.